Ordinance
City of Portland, Tennessee

No. 20-40
Second Reading

AN ORDINANCE AUTHORIZING THE ADOPTION OF THE 2018 INTERNATIONAL CODES RELATING TO INSPECTION ACTIVITIES OF THE CITY OF PORTLAND AND ENFORCEMENT OF BUILDING PROVISIONS AS PROVIDED IN SAID CODES  

WHEREAS, it is the desire of the Mayor and Board of Aldermen of the City of Portland to adopt, in all respects, the various codes related to amusement devices, building, fire prevention, gas, housing, mechanical, plumbing, and swimming pools; and

WHEREAS, the adoption of these codes is done to facilitate proper inspection activities by the City of Portland relating to construction and maintenance of buildings within the City of Portland relating to public safety, health, and general welfare; and

NOW THEREFORE BE IT ORDAINED by the Mayor and Board of Aldermen of the City of Portland that the following codes, together with amendments and all updates hereto, are hereby adopted by reference as though they were copied herein fully:
· 2018 International Building Code

· 2018 International Fire Code

· 2018 International Residential Code 
· 2018 International Mechanical Code

· 2018 International Fuel & Gas Code

· 2018 International Plumbing Code

· 2018 International Swimming Pool & Spa Code

· 2018 International Energy Conservation Code

· 2007 ASHRAE Standard 90.1

· 2018 International Existing Building Code
· 2018 International Property Maintenance Code
Amendments for the 2018 International Residential Code (IRC)
Amend Portland Municipal Code, starting with Chapter 1, 12-101 by removing all references to the 2009 Edition and replacing with 2018 in all Chapters.
Section R108.2  Schedule of permit fees. Amend to reflect the Portland fee schedule as shown in the Portland Municipal Code, Chapter 1, Section 12-102. Also, fees as shown in Portland Municipal Code Chapter 7, 12-702. 

Section R313.1 Townhome automatic fire sprinkler systems amend per State Fire Marshall’s rule 0780-02-23. Shall not be required in three or fewer stories with less than 5,000 gross square feet and three or fewer stories if each unit is separated by a two-hour fire wall.
Section R313.2 One and Two Family automatic sprinkler systems. Delete per TCA 68-120-101.

Section R302.13 Fire protection of floors – Delete the wording “or electric-powered heating”.
Section N1102.4.1.2 (R402.4.1.2) Testing is replaced with Section N1102.4.2.1 Testing Option and Section N1102.4.2.2 Visual Inspection from the 2009 IRC
Section N1103.3.3 (R403.3.3) Duct Testing (Mandatory) and Section 1103.3.4 (R403.3.4) Duct Leakage (Prescriptive) are Optional.

Table N1102.1.2 (R402.1.2) Insulation and Fenestration Requirement by Component and Table N1102.1.4 (R402.1.4) Equivalent U-Factors from 2018 IRC are hereby replaced with Table N1102.1 Insulation and Fenestration Requirements by Component and Table N1102.1.2 Equivalent U-Factor from the 2009 IRC.

Section N1102.4.4 (R402.4.4) Rooms Containing Fuel-Burning Appliances is deleted in its entirety.

Section N1103.5 (R403.5) Service Hot Water Systems (Mandatory) is hereby Optional.

Delete Chapters 34-43 relating to Electrical of the 2018 IRC. – Electrical Standards adopted in 0780-02-01 Electrical Installations are enforced by the State Fire Marshall’s Office (2017 NEC).
Delete all Appendices.
Amendments for the 2018 International Building Code (IBC)
Delete Chapter 11 in its entirety (accessibility) and replace it with the 2010 Edition of the American with Disabilities Act.

Delete all Appendices.
Amendments for the 2018 International Energy Conservation Code (IECC) – Residential Provisions

Section R402.4.1.2 Testing is deleted and replaced with Section R402.4.2.1 Testing Option and Section 402.4.2.2 Visual Inspection Option from 2009 IECC.

Section R403.3.3 Duct Testing (Mandatory) and Section R403.3.4 Duct Leakage (Prescriptive) are Optional.
Table 402.1.2 Insulation and Fenestration Requirements by Component and Table R402.1.4 Equivalent U-Factors are deleted and replaced with Table 402.1.1 Insulation and Fenestration Requirements by Component and Table 402.1.3 Equivalent U-Factors from 2009 IECC.
BE IT FURTHER ORDAINED, that within said codes, when reference is made to the duties of certain official named therein, that designated official of the City of Portland who has duties corresponding to those of the named official in said code shall be deemed to be the responsible official insofar as enforcing the provisions of said code are concerned; and
BE IT FURTHER ORDAINED, that all ordinances or parts of ordinances in conflict with this ordinance be, and the same are hereby repealed, and that this ordinance shall take effect on 90 calendar days upon final approval; and

BE IT FURTHER ORDAINED by the Mayor and Board of Aldermen of the City of Portland, Tennessee hereby approve this ordinance in its entirety, the public welfare requiring it. 
_____________________________


_________________________________

Mike Callis, Mayor




Patricia Keen, City Recorder

Approved First Reading:  August 3, 2020
Approved Second Reading: September 14, 2020
